**SEQUENCING RUN** DATE:

INITIALS:

**LIBRARY NAME:**

**DETAILS:**

CYCLES –

INDEXES –

CUSTOM PRIMERS –

LOADING CONCENTRATION –

% PHIX –

Kit Specs:

**LOADING CONCENTRATION =**

1. **DENATURE AND DILUTE TO 20pM**

**C1V1=C2V2**

1. **DENATURE AND DILUTE TO \_\_\_\_\_\_**

**C1V1=C2V2**

1. **SPIKE IN \_\_\_\_% PHIX**
2. **CUSTOM PRIMERS (3.4µl OF EACH IF NEEDED)**